{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":17,"n_cols":8,"rows_kept":17,"merged":[[0,0,0,7],[1,0,1,7],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,3,4],[2,5,3,5],[2,6,3,6],[2,7,3,7],[16,1,16,5]]}
["中国科学院广州生物医药与健康研究院                                                           C栋螺杆机维修项目工程量清单"]
["工程名称:C栋螺杆机维修项目                            （单位：元，报价均含税）"]
["序号","项目名称","项目特征描述","计量\n单位","工程量","综合单价","合价","备注"]
[]
[1,"2号和3号机组压缩机轴承更换","1.更换6台压缩机轴承\n2.更换油过滤器6个\n3.更换6台压缩机冷冻油（型号：RB68）","台","6",null,null,"轴承品牌：NSK"]
[2,"压缩机密封圈更换","更换6台压缩机（更换轴承）密封圈","套","6"]
[3,"机组查漏及漏点修补","1.对2号机组进行查漏\n2.对泄漏点进行修补\n3.本项目报价包含氮气费用","项",1,null,null,""]
[4,"补充R134A冷媒","对2号和3号机组的冷媒进行补充","项",1]
[5,"补充407C冷媒","对1号机组的冷媒进行补充","项",1]
[6,"更换冷冻油","对1号机组的冷冻油进行更换","台",3]
[7,"更换1号机组油过滤器","更换1号机组油过滤器，共3台压缩机","台",3]
[8,"安装水流开关","2号和3号机组安装水流开关，3套","套",3]
[9,"安装水系统温度计","1号、2号和3号机组安装水系统温度计（不锈钢），6件","件",6]
[10,"更换热水管蝶阀","将原蝶阀更换成闸阀","个",1]
[11,"其它杂费","包括吊装、现场恢复等费用","项",1]
[8,"人工费","人工费是指完成本维修项目的人员费，包括不仅限于更换压缩机轴承、油过滤器、冷冻油、开关、阀门，补充冷媒，系统检修及主机调试等）","项",1,null,null,"报价时注明工时"]
[9,"合计"]